## Slide 1: CRMD Counting Studies Without eLab
Nathan Unterman
Rice university June 2021

## Slide 2: Stopwatch and DAQ Counter
Notes: Use phone app for stopwatch.

## Slide 3: Change Status Line in EQUIP
From H2 on command line in EQUIP (Help Menu 2)

## Slide 5: EQUIP Settings
Coincidence Level should be the number of counters you are using. This is a specific parameter for counting studies without eLab.
Gate Width: 300 ns Pipeline Delay 100 ns (should be regular settings)
Status Output: ST 2 n (Local counting studies. Regular use: ST 3 5)
  n is the interval in minutes for report.

## Slide 6: CAUTION: Roll Over
4 minute run sample
  Estimate 24 hour count. Does it exceed counter limits?
Notes: Consider the Status Line report as a possible help.

## Slide 7: Types of Studies
Triangle Shower
Angle Acceptance
Shielding (can be tricky)
Zenith Angle (cos2θ)
E-W N-S

## Slide 8: Triangle Shower Study
Notes: Equilateral triangle. Problems with using squares. You may need to consider a stretch of 30 minutes as a common count interval.

## Slide 9: Angle of Acceptance

## Slide 10: Shielding
Depth in building
  Careful of walls!
Copper or steel (lead, uranium) plates
Tunnels

## Slide 11: Directional Studies
Angle from Zenith
North – South versus East – West
Notes: Latitude studies can be done with other Quarknet Groups.

## Slide 12: Poster

## Slide 15: Questions?

## Slide 16: Contact
Nathan Unterman
nunterman@gmail.com
773 758-0464